## PB RAR
FY23-24 City Building Committee Project List
2022-12-13
Priority | Facility | Project | Notes | Estimated Project Cost | Total Budget (Running) cost
1 | DPW City Yard - Mechanics Garage | Roof Top Heater Units Replacements | Existing units past life cycle | 55000 | 55000
2 | Park/Youth Services - 51 High Street | Flooring Replacement | Deteriorated floor (exisitng vinyl tile potential safety concern). Project consist of removing exisitng tiles/ leveling floor and installing new flooring. | 25000 | 80000
3 | DPW City Yard & Transfer Station | Waste Oil Heater Replacements | Existing units discontinued (replacement parts not available) | 42000 | 122000
4 | Beal's Senior Center | Window Replacement | Replaced 3 window bayes. Windows have wooden frames that are rotted. | 15000 | 137000
5 | Fire Department Station #2 | Window Replacements/Office Front | Energy conservation | 35000 | 172000
7 | Police Complex | Flooring Replacement | Internal primary U-shaped hallway | 68000 | 240000
8 | Fire Department Staton #5 | Window Replacements/Office Front | Energy conservation | 35000 | 275000
9 | Police Complex | Exterior Repairs & Painting | Repair concrete and paint | 72000 | 347000
10 | Park/Youth Services - 51 High Street | Drainage Improvements | Basement water infiltration drainage | 35000 | 382000
11 | Beal's Senior Center | Wall Removal/Café & Card Expansion | Demo wall, remove carpet, install VCT | 37000 | 419000
12 | Fire Department Station #2 | Exterior Painting of Metal Trim | Trim, awnings & other discolored w/ age | 15000 | 434000

## FY23-24
FY23-24 City Building Committee Project List
Facility | Project | Estimated Cost | Notes
Police Complex | Exterior Repairs & Painting | 50000 | Repair concrete and paint
Police Complex | Flooring Replacement | 75000 | North & South wings, rear hallway
Police Complex | Floor Drain Pipe Replacement/Repair | 15000 | Cracked pipes, repairs to collars
Police Complex | Lobby Restroom Partitions | 15000 | Existing units plastic/weak
51 High Street | Drainage Improvements | 35000 | Basement water infiltration solution
Fire House #2 | Window Replacements/Office Front | 35000 | Energy conservation
Fire House #2 | Exterior Painting of Metal Trim | 15000 | Trim, awnings & other discolored w/ age
Fire House #5 | Window Replacements/Office Front | 35000 | Energy conservation
Fire 2, 3, 4 | Keying Standard/Door Improvements | 10000 | DA-1 standard across Houses, replace hardware
51 High Street | Flooring Replacement | 25000 | conference room & strip/waxing throughout
Beals Center | Wall Removal/Café & Card Expansion | 35000 | Demo wall, remove carpet, install VCT
Beals Center | Window Replacement | 15000 | Replaced rotted window units (3x)
City Yard - Mechanics Bay | Heater Replacements | 50000 | Existing units past life cycle
City Yard & Transfer Station | Waste Oil Heater Replacements | 40000 | REZNOR units discontinued & dated
450000
CIP Items
Fire HQ Parking Lots | Milling & Paving - Expansion & ADA | 250000 | Past lifetime/H&S Issue/ADA Standards
Parking Garage Upgrades | 4th deck coating, drains & concrete | 500000 | Spalling concrete, water infiltration
City Yard | Replace Old S6 Q-Hut | 150000 | Demo/build new garage
Building Maintenance | Pro-Press Tool | 3500 | for plumbing repairs & improvements
Building Maintenance | A5 Bed Salter | 8000 | snow operations - less trips for loads at Yard
Building Maintenance | SCAG 36" Mower | 6000 | 51 High, City Hall, Police, Animal Control
Building Maintenance | Portable Table Saw | 1000 | Replace existing unit - H&S Issue
Building Maintenance | Mobile Podium - City Events | 1500 | Existing unit deteriorating
Building Maintenance | Framed American & State Flags | 3000 | Council Chambers - City Hall
Animal Control Facility Replacement
BPD Mechanical Improvements
Electric Vehicle Charging Station
Overhead Door Replacements - Police (3) & Fire #2 (4)
LED Lighting Upgrades - Police Complex, 51 High, Beals Center
Probate Court/Emergency Management Build-out at 131 North Main
Police Complex - Parking Garage Security Access System
Police Complex - Spline Ceiling Replacement
Fire House #3 - Future use TBD

## FY22-23
FY22-23 City Building Committee Project List
Facility | Project | Estimated Cost | Notes
Police Complex | Exterior Painting | 0 | Repair concrete and paint
51 High Street | Drainage Improvements | 0 | Basement water infiltration
Fire House #2 | Window Replacements | 0 | Energy conservation
Fire House #2 | Generator/Electrical Upgrades | 65000
Fire House #2 | AC Installation | 45000
Fire House #5 | Generator/Electrical Upgrades | 65000
City Yard | Old S6 Q-Hut | 0 | Demo/rebuild
Main Library | Chiller Tank Repairs | 15000 | Deteriorated, maintain equipment
Fire 2, 3, 4 | Keying Standard | 0 | DA-1 standard across Houses
Fire House #4 | Bay Ceiling Fans | 10000
Police Complex | Holding Cell Painting | 75000
275000
CIP Items
Fire HQ Parking Lots | Milling & Expand/Pave | 200000 | Past lifetime/H&S Issue
Parking Garage Upgrades | Concrete, drains, 4th deck coating | 250000 | Spalling concrete, water infiltration
Police Complex Mech. Reno. | HVAC, Lighting, etc… | TBD
City Yard | Old S6 Q-Hut | TBD | Demo/rebuild

## FY21-22
FY21-22 City Building Committee Project List
Facility | Project | Estimated Cost | Notes
Fire HQ | Building Signage | 20000 | Building signage & door stenciling
Fire Hosue #2 | AC Installation | 35000 | H&S for BFD Staff
Police Complex | Basement Car Stops & LEDs | 15000 | H&S for BPD Staff & HVAC systems
Fire House #2 | Generator Replacement | TBD | Operational Requirement
Fire House #3 | Generator Replacement | TBD | Operational Requirement
Fire House #5 | Generator Replacement | TBD | Operational Requirement
Fire Houses | Ramp Improvements | 50000 | Operational Requirement
City Yard | Mechanic Garage RTU | 45000 | Energy Effeciency/End of Life
Main Library | Carpet Replacement (Selective) | 10000 | Green Boarders Only/Wear & Tear
Manross Library | Boiler Room Pipe Replacement | 10000 | Energy Effeciency/End of Life
Beals Center | Gutter Guard System | 10000 | Building Envelope/H&S
Beals Center | ADA Counter Upgrade | 35000 | Member/Visitor Needs
230000
Beals | Flagpole Painting
FD #2 AC Upgrade | removed

## FY20-21 Draft
FY20-21 City Building Committee Project List
Facility | Project | Estimated Cost | Notes
Police Complex | Lobby Restroom Partitions | 10000 | Existing Units Failing
City Hall | Gun Range Decommissioning | 60000 | Cleaning/Sampling/Build-out
City Wide | Unexcepted Repairs | 20000 | To Be Determined
City Wide | HVAC Calibraiton/Balancing | 50000 | Energy Conservation
Fire #2 | Roof Replacement | 90000 | Energy Conservation/Life Cycle
Fire #2 | Exterior Painting | 10000 | Paint Deteriorated
Fire #3 | Exterior Painting | 10000 | Paint Deteriorated
Fire HQ | Exterior Painting | 15000 | Paint Deteriorated
51 High Street | Boiler Replacement | 45000 | Energy Conservation/Life Cycle
310000

## Version1.0
Facility | Project | Estimated Cost | Notes
Beals | Floor Tiles - South Wing | 20000 | Past Life Cycle/Trip Hazards
Beals | Stafford Sidewalk Upgrade | 30000 | Safety Issue
Police Complex | Parking Lot Security Fence | 50000 | Security Request
Police Complex | Switch Gear Upgrades | 65000 | Past Life Cycle/Safety Issue
Police Complex | Basement Parking Stops | 5000 | Safety Issue
Police Complex | LED Lighting Upgrades | 468000 | Energy Conservation | CIP
Police Complex | AHU Replacements | 500000 | Past Life Cycle | CIP
Police Complex | 4th Deck Resufacing/Rods/Etc | 85000 | Past Life Cycle/Infiltration
Police Complex | HVAC Compressor/DDC Shift? | 50000 | Past Life Cycle
Police Complex | Lobby Restroom Partitions | 10000 | Existing Units Failing | 10000
City Hall/Police | UST Removals | 80000 | Natural Gas Conversion
City Hall | Gun Range Decommissioning | 60000 | Cleaning/Sampling/Build-out | 60000
City Hall | Ceiling Tiles & Paint | 50000 | Past Life Cycle/H&S/IAQ
City Hall | Chiller Replacement | 250000 | Past Life Cycle | CIP
City Hall | LED Lighting Upgrades | 392000 | Energy Conservation | CIP
City Hall | AHU Replacements | 500000 | Past Life Cycle | CIP
City Hall | Perimeter Unit Replacements | 750000 | Past Life Cycle/Lead Dust | CIP
City Hall | Emergency Lighting Batteries | 7500 | Life Safety/Code Compliance
City Wide | Concrete Curbs | 50000 | Annually Damaged
City Wide | Unexcepted Repairs | 20000 | To Be Determined | 20000
City Wide | Carpet Replacement | 50000 | IAQ/Past Life Cycle
City Wide | HVAC Calibraiton/Balancing | 50000 | Energy Conservation | 50000
City Yard | Infrared Heaters | 25000 | Energy Conservation
City Yard | Rooftop Unit Replacement | 30000 | Exceeded Life Cycle
Former Court House | Swing Space Improvements | 100000 | City Hall Renovation???
Fire #2 | Roof Replacement | 90000 | Energy Conservation/Life Cycle | 90000
Fire #2 | Exterior Painting | 10000 | Paint Deteriorated | 10000
Fire #3 | Exterior Painting | 10000 | Paint Deteriorated | 10000
Fire HQ | Exterior Painting | 15000 | Paint Deteriorated | 15000
51 High Street | Boiler Replacement | 45000 | Energy Conservation/Life Cycle | 45000
|  | 3867500 |  | 310000

## ByFacility
Facility | Project | Estimated Cost | Notes
Beals | Steel Hatch Replacement | 5000 | Safety Issue | 5000
Beals | Floor Tile Replacement | 15000 | Past Life Cycle/Trip Hazards
Beals | Stafford Sidewalk Upgrade | 30000 | Safety Issue
Beals | Gym Lighting Fixtures | 5000 | Safety Issue
BPD/Court | Parking Lot Fence | 50000 | Security Request
BPD/Court | Switch Gear Upgrades | 85000 | Past Life Cycle/Safety Issue
BPD/Court | Emergency Lighting Upgrade | 10000 | Past Life Cycle/Safety Issue | 10000
BPD/Court | Basement Parking Stops | 5000 | Safety Issue | 5000
BPD/Court | LED Lighting Upgrades | 105000 | Energy Conservation
BPD/Court | AHU Replacements | 500000 | Past Life Cycle
BPD/Court | 4th Deck Resufacing | 85000 | Past Life Cycle/Infiltration
BPD/Court | 277V Panel Replacement | 25000 | Water Damaged/Safety Issue | 25000
City Hall | Gun Range Decommissioning | 50000 | Cleaning/Sampling/Build-out
City Hall | Ceiling Tiles & Paint | 50000 | Phase 3 of 4
City Hall | Generator Replacement | 50000 | Past Life Cycle/Safety Issue | 50000
City Hall | Chiller Replacement | 150000 | Past Life Cycle
City Hall | LED Lighting Upgrades | 100000 | Energy Conservation
City Hall | AHU Replacements | 500000 | Past Life Cycle
City Hall | Perimeter Unit Replacements | 750000 | Past Life Cycle/Lead Dust
City Hall | Emergency Lighting Batteries | 7500 | Life Safety/Code Compliance
City Wide | Concrete Curbs | 50000 | Annually Damaged
City Wide | Unexcepted Repairs | 20000 | To Be Determined | 20000
City Wide | Carpet Replacement | 100000 | Lease Requirement
City Wide | HVAC Calibraiton/Balancing | 50000 | Energy Conservation | 50000
City Yard | Infrared Heaters | 25000 | Energy Conservation
Court House | Ceiling Replacement | 100000 | Past Life Cycle
Fire #2 | Roof Replacement | 75000 | Energy Conservation/Life Cycle
Fire #2 | Exterior Painting | 10000 | Paint Deteriorated
Fire #3 | Exterior Painting | 10000 | Paint Deteriorated
Fire HQ | UST Removal | 20000 | Natural Gas Conversion
Main Library | LED Lighting Upgrades | 170000 | Energy Conservation
Police-Court Complex | Lobby Restroom Partitions | 10000 | Existing Units Failing | 10000
Youth Services | Flat Roof Replacement | 75000 | Past Life Cycle/Energy Conserv. | 75000
Youth Services | Window Trim Repairs | 25000 | Address Rotting Conditions | 25000
Youth Services | Exterior Painting | 25000 | Paint Deteriorated/Peeling | 25000
|  | 3342500 |  | 300000

## ALL
FY20-21 Building Committee Project List - DRAFT
Facility | Project | Estimated Cost | Notes
Fire HQ | UST Removal | 20000 | Natural Gas Conversion
City Hall | Gun Range Decommissioning | 50000 | Cleaning/Sampling/Build-out
BPD/Court | Parking Lot Fence | 50000 | Security Request
City Yard | Infrared Heaters | 25000 | Energy Conservation
City Wide | Concrete Curbs | 50000 | Annually Damaged
City Hall | Ceiling Tiles & Paint | 50000 | Phase 3 of 4
City Wide | Unexcepted Repairs | 20000 | To Be Determined
BPD/Court | Switch Gear Upgrades | 85000 | Past Life Cycle/Safety Issue
City Hall | Generator Replacement | 50000 | Past Life Cycle/Safety Issue
BPD/Court | Emergency Lighting Upgrade | 10000 | Past Life Cycle/Safety Issue
BPD/Court | Basement Parking Stops | 5000 | Safety Issue
Beals | Steel Hatch Replacement | 5000 | Safety Issue
Beals | Floor Tile Replacement | 15000 | Past Life Cycle/Trip Hazards
435000
Wish List Items
BPD/Court | Chiller Replacement | 150000 | Past Life Cycle
Court House | Ceiling Replacement | 100000 | Past Life Cycle
City Wide | Carpet Replacement | 100000 | Lease Requirement
BPD/Court | LED Lighting Upgrades | 105000 | Energy Conservation
City Hall | LED Lighting Upgrades | 100000 | Energy Conservation
Main Library | LED Lighting Upgrades | 170000 | Energy Conservation
BPD/Court | AHU Replacements | 500000 | Past Life Cycle
City Hall | AHU Replacements | 500000 | Past Life Cycle
City Hall | Perimeter Unit Replacements | 750000 | Past Life Cycle/Lead Dust
BPD/Court | 4th Deck Resufacing | 85000 | Past Life Cycle/Infiltration
BPD/Court | 277V Panel Replacement | 25000 | Water Damaged
2585000
Facility | Project | Estimated Cost | Notes
Beals | Stafford Sidewalk Upgrade | 30000 | Safety Issue
Beals | Gym Lighting Fixtures | 5000 | Safety Issue
City Hall | Emergency Lighting Batteries | 7500 | Life Safety/Code Compliance
City Wide | HVAC Calibraiton/Balancing | 50000 | Energy Conservation
Fire #2 | Roof Replacement | 75000 | Energy Conservation/Life Cycle
Fire #2 | Exterior Painting | 10000 | Paint Deteriorated
Fire #3 | Exterior Painting | 10000 | Paint Deteriorated
Police-Court Complex | Lobby Restroom Partitions | 10000 | Existing Units Failing
Youth Services | Flat Roof Replacement | 75000 | Past Life Cycle/Energy Conserv.
Youth Services | Window Trim Repairs | 25000 | Address Rotting Conditions
Youth Services | Exterior Painting | 25000 | Paint Deteriorated/Peeling
322500